## Slide 1: Regional Water Sources
Currently connected to:
Gloucester
Beverly
Connections are only emergency and would require pumping.
Permits required.

## Slide 2: Regional Water Sources
Future Considerations
Hamilton via new Force Main via Chebacco Road
(3,100 LF)
Essex Pressure Well
Permit Needed (Source Approval from DEP)

## Slide 3: Regional Water Sources
Current regional connections are unlikely of sending water back to Manchester
Salem Beverly may be a possibility
(talks underway with Hamilton)